## bus_p
| name | vn_kv | type | zone | in_service | max_vm_pu | min_vm_pu |  | name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu | name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu
0 | 0 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 0 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
1 | 1 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 1 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
2 | 2 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 2 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
3 | 3 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 3 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
4 | 4 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 4 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
5 | 5 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 5 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
6 | 6 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 6 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
7 | 7 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 7 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
8 | 8 | 1 | b | 1 | TRUE | 1.06 | 0.94 | 8 | NaN | 1 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
9 | 9 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 9 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
10 | 10 | 11 | b | 1 | TRUE | 1.06 | 0.94 | 10 | NaN | 11 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
11 | 11 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 11 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
12 | 12 | 11 | b | 1 | TRUE | 1.06 | 0.94 | 12 | NaN | 11 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
13 | 13 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 13 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
14 | 14 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 14 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
15 | 15 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 15 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
16 | 16 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 16 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
17 | 17 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 17 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
18 | 18 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 18 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
19 | 19 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 19 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
20 | 20 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 20 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
21 | 21 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 21 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
22 | 22 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 22 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
23 | 23 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 23 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
24 | 24 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 24 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
25 | 25 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 25 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
26 | 26 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 26 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
27 | 27 | 132 | b | 1 | TRUE | 1.06 | 0.94 | 27 | NaN | 132 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
28 | 28 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 28 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE
29 | 29 | 33 | b | 1 | TRUE | 1.06 | 0.94 | 29 | NaN | 33 | b | 1 | TRUE | 0.94 | 1.06 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE

## load_p
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | controllable |  | name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | controllable | name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | controllable
0 | None | 1 | 21.7 | 12.7 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 0 | NaN | 1 | 21.7 | 12.7 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
1 | None | 2 | 2.4 | 1.2 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 1 | NaN | 2 | 2.4 | 1.2 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
2 | None | 3 | 7.6 | 1.6 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 2 | NaN | 3 | 7.6 | 1.6 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
3 | None | 4 | 94.2 | 19 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 3 | NaN | 4 | 94.2 | 19 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
4 | None | 6 | 22.8 | 10.9 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 4 | NaN | 6 | 22.8 | 10.9 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
5 | None | 7 | 30 | 30 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 5 | NaN | 7 | 30 | 30 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
6 | None | 9 | 5.8 | 2 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 6 | NaN | 9 | 5.8 | 2 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
7 | None | 11 | 11.2 | 7.5 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 7 | NaN | 11 | 11.2 | 7.5 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
8 | None | 13 | 6.2 | 1.6 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 8 | NaN | 13 | 6.2 | 1.6 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
9 | None | 14 | 8.2 | 2.5 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 9 | NaN | 14 | 8.2 | 2.5 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
10 | None | 15 | 3.5 | 1.8 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 10 | NaN | 15 | 3.5 | 1.8 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
11 | None | 16 | 9 | 5.8 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 11 | NaN | 16 | 9 | 5.8 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
12 | None | 17 | 3.2 | 0.9 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 12 | NaN | 17 | 3.2 | 0.9 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
13 | None | 18 | 9.5 | 3.4 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 13 | NaN | 18 | 9.5 | 3.4 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
14 | None | 19 | 2.2 | 0.7 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 14 | NaN | 19 | 2.2 | 0.7 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
15 | None | 20 | 17.5 | 11.2 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 15 | NaN | 20 | 17.5 | 11.2 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
16 | None | 22 | 3.2 | 1.6 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 16 | NaN | 22 | 3.2 | 1.6 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
17 | None | 23 | 8.7 | 6.7 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 17 | NaN | 23 | 8.7 | 6.7 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
18 | None | 25 | 3.5 | 2.3 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 18 | NaN | 25 | 3.5 | 2.3 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
19 | None | 28 | 2.4 | 0.9 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 19 | NaN | 28 | 2.4 | 0.9 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE
20 | None | 29 | 10.6 | 1.9 | 0 | 0 | NaN | 1 | TRUE | None | FALSE | 20 | NaN | 29 | 10.6 | 1.9 | 0 | 0 | NaN | 1 | TRUE | wye | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE

## gen_p
| name | bus | p_mw | vm_pu | sn_mva | min_q_mvar | max_q_mvar | scaling | slack | in_service | slack_weight | type | controllable | max_p_mw | min_p_mw |  | name | bus | p_mw | vm_pu | sn_mva | min_q_mvar | max_q_mvar | scaling | slack | in_service | slack_weight | type | controllable | min_p_mw | max_p_mw | name | bus | p_mw | vm_pu | sn_mva | min_q_mvar | max_q_mvar | scaling | slack | in_service | slack_weight | type | controllable | max_p_mw | min_p_mw
0 | None | 1 | 40 | 1.045 | NaN | -50 | 40 | 1 | FALSE | TRUE | 0 | None | TRUE | 140 | 0 | 0 | NaN | 1 | 46 | 1.045 | 100 | -40 | 46 | 1 | FALSE | TRUE | 0 | NaN | TRUE | 0 | 92 | FALSE | TRUE | FALSE | TRUE | FALSE | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | FALSE
1 | None | 4 | 0 | 1.01 | NaN | -40 | 40 | 1 | FALSE | TRUE | 0 | None | TRUE | 100 | 0 | 1 | NaN | 4 | 0 | 1.01 | 100 | -40 | 40 | 1 | FALSE | TRUE | 0 | NaN | TRUE | 0 | 0 | FALSE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE
2 | None | 7 | 0 | 1.01 | NaN | -40 | 10 | 1 | FALSE | TRUE | 0 | None | TRUE | 100 | 0 | 2 | NaN | 7 | 0 | 1.01 | 100 | -10 | 40 | 1 | FALSE | TRUE | 0 | NaN | TRUE | 0 | 0 | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE
3 | None | 10 | 0 | 1.082 | NaN | -24 | 6 | 1 | FALSE | TRUE | 0 | None | TRUE | 100 | 0 | 3 | NaN | 10 | 0 | 1.082 | 100 | -6 | 24 | 1 | FALSE | TRUE | 0 | NaN | TRUE | 0 | 0 | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE
4 | None | 12 | 0 | 1.071 | NaN | -24 | 6 | 1 | FALSE | TRUE | 0 | None | TRUE | 100 | 0 | 4 | NaN | 12 | 0 | 1.071 | 100 | -6 | 24 | 1 | FALSE | TRUE | 0 | NaN | TRUE | 0 | 0 | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE

## shunt_p
| bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service |  | bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service | bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service
0 | 9 | None | -19 | 0 | 33 | 1 | 1 | TRUE | 0 | 9 | NaN | -19 | 0 | 33 | 1 | 1 | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1 | 23 | None | -4.3 | 0 | 33 | 1 | 1 | TRUE | 1 | 23 | NaN | -4.3 | 0 | 33 | 1 | 1 | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE

## ext_grid_p
| name | bus | vm_pu | va_degree | slack_weight | in_service | max_p_mw | min_p_mw | max_q_mvar | min_q_mvar |  | name | bus | vm_pu | va_degree | slack_weight | in_service | min_p_mw | max_p_mw | min_q_mvar | max_q_mvar | name | bus | vm_pu | va_degree | slack_weight | in_service | min_p_mw | max_p_mw | min_q_mvar | max_q_mvar
0 | None | 0 | 1.06 | 0 | 1 | TRUE | 360.2 | 0 | 0 | -10 | 0 | None | 0 | 1.06 | 0 | 1 | TRUE | 0 | 271 | 0 | 10 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE

## line_p
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | max_loading_percent |  | name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | max_loading_percent | name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | max_loading_percent
0 | None | None | 0 | 1 | 1 | 3.3454 | 10.0188 | 803.8128 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 0 | NaN | NaN | 0 | 1 | 1 | 3.3454 | 10.0188 | 964.5754 | 0 | 0.60359 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
1 | None | None | 0 | 2 | 1 | 7.8756 | 28.7844 | 621.1281 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 1 | NaN | NaN | 0 | 2 | 1 | 7.8756 | 28.7844 | 745.3537 | 0 | 0.66483 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
2 | None | None | 1 | 3 | 1 | 9.9317 | 30.2655 | 560.2332 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 2 | NaN | NaN | 1 | 3 | 1 | 9.9317 | 30.2655 | 672.2798 | 0 | 0.60797 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
3 | None | None | 2 | 3 | 1 | 2.3 | 6.6037 | 127.8793 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 3 | NaN | NaN | 2 | 3 | 1 | 2.3 | 6.6037 | 153.4552 | 0 | 0.59047 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
4 | None | None | 1 | 4 | 1 | 8.2241 | 34.5518 | 636.3518 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 4 | NaN | NaN | 1 | 4 | 1 | 8.2241 | 34.5518 | 763.6222 | 0 | 0.62984 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
5 | None | None | 1 | 5 | 1 | 10.1233 | 30.7185 | 569.3674 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 5 | NaN | NaN | 1 | 5 | 1 | 10.1233 | 30.7185 | 683.2409 | 0 | 0.60797 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
6 | None | None | 3 | 5 | 1 | 2.0735 | 7.2135 | 137.0136 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 6 | NaN | NaN | 3 | 5 | 1 | 2.0735 | 7.2135 | 164.4163 | 0 | 0.64733 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
7 | None | None | 4 | 6 | 1 | 8.015 | 20.2118 | 310.5641 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 7 | NaN | NaN | 4 | 6 | 1 | 8.015 | 20.2118 | 372.6769 | 0 | 0.55548 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
8 | None | None | 5 | 6 | 1 | 4.6522 | 14.2877 | 258.8034 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 8 | NaN | NaN | 5 | 6 | 1 | 4.6522 | 14.2877 | 310.5641 | 0 | 0.61234 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
9 | None | None | 5 | 7 | 1 | 2.0909 | 7.3181 | 137.0136 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 9 | NaN | NaN | 5 | 7 | 1 | 2.0909 | 7.3181 | 164.4163 | 0 | 0.64733 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
10 | None | None | 11 | 13 | 1 | 1.3406 | 2.7868 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 10 | NaN | NaN | 11 | 13 | 1 | 1.3406 | 2.7868 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
11 | None | None | 11 | 14 | 1 | 0.72092 | 1.4201 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 11 | NaN | NaN | 11 | 14 | 1 | 0.72092 | 1.4201 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
12 | None | None | 11 | 15 | 1 | 1.0291 | 2.1638 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 12 | NaN | NaN | 11 | 15 | 1 | 1.0291 | 2.1638 | 0 | 0 | 0.52486 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
13 | None | None | 13 | 14 | 1 | 2.4067 | 2.1747 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 13 | NaN | NaN | 13 | 14 | 1 | 2.4067 | 2.1747 | 0 | 0 | 0.34991 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
14 | None | None | 15 | 16 | 1 | 0.57064 | 2.0941 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 14 | NaN | NaN | 15 | 16 | 1 | 0.57064 | 2.0941 | 0 | 0 | 0.66483 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
15 | None | None | 14 | 17 | 1 | 1.1685 | 2.3795 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 15 | NaN | NaN | 14 | 17 | 1 | 1.1685 | 2.3795 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
16 | None | None | 17 | 18 | 1 | 0.69587 | 1.407 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 16 | NaN | NaN | 17 | 18 | 1 | 0.69587 | 1.407 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
17 | None | None | 18 | 19 | 1 | 0.37026 | 0.74052 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 17 | NaN | NaN | 18 | 19 | 1 | 0.37026 | 0.74052 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
18 | None | None | 9 | 19 | 1 | 1.0193 | 2.276 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 18 | NaN | NaN | 9 | 19 | 1 | 1.0193 | 2.276 | 0 | 0 | 0.52486 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
19 | None | None | 9 | 16 | 1 | 0.35284 | 0.92021 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 19 | NaN | NaN | 9 | 16 | 1 | 0.35284 | 0.92021 | 0 | 0 | 0.57735 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
20 | None | None | 9 | 20 | 1 | 0.37897 | 0.81566 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 20 | NaN | NaN | 9 | 20 | 1 | 0.37897 | 0.81566 | 0 | 0 | 0.52486 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
21 | None | None | 9 | 21 | 1 | 0.7917 | 1.6324 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 21 | NaN | NaN | 9 | 21 | 1 | 0.7917 | 1.6324 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
22 | None | None | 20 | 21 | 1 | 0.12632 | 0.257 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 22 | NaN | NaN | 20 | 21 | 1 | 0.12632 | 0.257 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
23 | None | None | 14 | 22 | 1 | 1.089 | 2.1998 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 23 | NaN | NaN | 14 | 22 | 1 | 1.089 | 2.1998 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
24 | None | None | 21 | 23 | 1 | 1.2524 | 1.9493 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 24 | NaN | NaN | 21 | 23 | 1 | 1.2524 | 1.9493 | 0 | 0 | 0.45488 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
25 | None | None | 22 | 23 | 1 | 1.4375 | 2.9403 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 25 | NaN | NaN | 22 | 23 | 1 | 1.4375 | 2.9403 | 0 | 0 | 0.50737 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
26 | None | None | 23 | 24 | 1 | 2.0528 | 3.585 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 26 | NaN | NaN | 23 | 24 | 1 | 2.0528 | 3.585 | 0 | 0 | 0.47238 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
27 | None | None | 24 | 25 | 1 | 2.7704 | 4.1382 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 27 | NaN | NaN | 24 | 25 | 1 | 2.7704 | 4.1382 | 0 | 0 | 0.43739 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
28 | None | None | 24 | 26 | 1 | 1.1903 | 2.2727 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 28 | NaN | NaN | 24 | 26 | 1 | 1.1903 | 2.2727 | 0 | 0 | 0.48987 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
29 | None | None | 26 | 28 | 1 | 2.3936 | 4.5226 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 29 | NaN | NaN | 26 | 28 | 1 | 2.3936 | 4.5226 | 0 | 0 | 0.48987 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
30 | None | None | 26 | 29 | 1 | 3.487 | 6.5634 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 30 | NaN | NaN | 26 | 29 | 1 | 3.487 | 6.5634 | 0 | 0 | 0.48987 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
31 | None | None | 28 | 29 | 1 | 2.6125 | 4.9364 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 31 | NaN | NaN | 28 | 29 | 1 | 2.6125 | 4.9364 | 0 | 0 | 0.48987 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
32 | None | None | 7 | 27 | 1 | 11.0817 | 34.848 | 651.5756 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 32 | NaN | NaN | 7 | 27 | 1 | 11.0817 | 34.848 | 781.8907 | 0 | 0.61234 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
33 | None | None | 5 | 27 | 1 | 2.9447 | 10.437 | 197.9085 | 0 | 99999 | 1 | 1 | ol | TRUE | 100 | 33 | NaN | NaN | 5 | 27 | 1 | 2.9447 | 10.437 | 237.4902 | 0 | 0.65171 | 1 | 1 | ol | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE

## trafo_p
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service | max_loading_percent |  | name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service | max_loading_percent | name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service | max_loading_percent
0 | None | None | 5 | 8 | 99.999 | 132 | 1 | 20.7998 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 2.2 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | 0 | NaN | NaN | 5 | 8 | 142 | 132 | 1 | 29.536 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 2.2 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
1 | None | None | 5 | 9 | 99.999 | 132 | 33 | 55.5994 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 3.1 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | 1 | NaN | NaN | 5 | 9 | 53 | 132 | 33 | 29.468 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 3.1 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
2 | None | None | 10 | 8 | 99.999 | 11 | 1 | 20.7998 | 0 | 0 | 0 | 0 | None | NaN | NaN | NaN | NaN | NaN | NaN | FALSE | 1 | 1 | TRUE | 100 | 2 | NaN | NaN | 10 | 8 | 142 | 11 | 1 | 29.536 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 0 | NaN | 0 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
3 | None | None | 9 | 8 | 99.999 | 33 | 1 | 10.9999 | 0 | 0 | 0 | 0 | None | NaN | NaN | NaN | NaN | NaN | NaN | FALSE | 1 | 1 | TRUE | 100 | 3 | NaN | NaN | 9 | 8 | 267 | 33 | 1 | 29.37 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 0 | NaN | 0 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
4 | None | None | 3 | 11 | 99.999 | 132 | 33 | 25.5997 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 6.8 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | 4 | NaN | NaN | 3 | 11 | 115 | 132 | 33 | 29.44 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 6.8 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
5 | None | None | 11 | 12 | 99.999 | 33 | 11 | 13.9999 | 0 | 0 | 0 | 0 | None | NaN | NaN | NaN | NaN | NaN | NaN | FALSE | 1 | 1 | TRUE | 100 | 5 | NaN | NaN | 11 | 12 | 210 | 33 | 11 | 29.4 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 0 | NaN | 0 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
6 | None | None | 27 | 26 | 99.999 | 132 | 33 | 39.5996 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 3.2 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | 6 | NaN | NaN | 27 | 26 | 75 | 132 | 33 | 29.7 | 0 | 0 | 0 | 0 | hv | 0 | NaN | NaN | 3.2 | NaN | -1 | FALSE | 1 | 1 | TRUE | 100 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE

## poly_cost_p
| element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2 |  | element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2 | element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2
0 | 0 | ext_grid | 0 | 20 | 0.038432 | 0 | 0 | 0 | 0 | 0 | ext_grid | 0 | 32.1126 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE
1 | 0 | gen | 0 | 20 | 0.25 | 0 | 0 | 0 | 1 | 0 | gen | 0 | 61.7987 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE
2 | 1 | gen | 0 | 40 | 0.01 | 0 | 0 | 0 | 2 | 1 | gen | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE
3 | 2 | gen | 0 | 40 | 0.01 | 0 | 0 | 0 | 3 | 2 | gen | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE
4 | 3 | gen | 0 | 40 | 0.01 | 0 | 0 | 0 | 4 | 3 | gen | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE
5 | 4 | gen | 0 | 40 | 0.01 | 0 | 0 | 0 | 5 | 4 | gen | 0 | 0 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE